Patient Name:

DOB:

Medical Record Number:

Start Date and Time: xx/xx/xxxx @ xxxx hours

End Date and Time: xx/xx/xxxx @ xxxx hours

Referring Physician:

Document originally created by: [eg. Technician who started report]

Clinical Indication: [recommend ICD 10 code]

CPT: [eg. 95719 (12-26 hours without video), 95721 (36-60 hours without video), 95723 (60 hours to 84 hours without video) 95725 (>84 hours without video), + GC modifier with trainee supervision]

Clinical History:

Neuroactive Medications:

TECHNIQUE: This is a 21 channel ambulatory EEG with 20 EEG channels placed according to the international 10-20 system and 1 EKG channel. Digital EEG was acquired in multiple montages and re-montaged as indicated. Automated spike and seizure detection software was applied and detections were reviewed. Activation procedures were performed.

FINDINGS:

BACKGROUND

Sample 1 (normal): Normal Background activity was seen. While the patient was awake, the posterior dominant rhythm consisted of well-regulated 9 Hz rhythmic waveforms symmetrically distributed over both posterior quadrants and reactive to eye-opening.

Sample 2 (encephalopathy –symmetric): Background slow activity was seen. Throughout the record, a moderate amount of [low to medium] voltage, polymorphic, XX Hz slow wave activity was seen diffusely over both hemispheres without localization or lateralization.

[Note: Background should be narrative. It may include further comments regarding organization, focal asymmetry, reactivity, variability, lack of PDR, and degree of continuity. Dynamic state changes over 24 hours may also be noted with times given.]

Sleep: N1 (drowsiness, vertex waves)/N2 (spindles and K complexes) /N3/REM stage sleep architecture was/was not seen.

EKG tracing: On spot check, EKG showed a regular/irregular/asystolic rhythm. [optional]

ABNORMALITIES

Reported events: The patient submitted a written log of clinical events. ____ events were reported during this ambulatory EEG recording. They occurred at approximately ____. These were reviewed and abnormal findings if present are reported below.

Ictal and Clinical Events

Sample Clinical Events / Seizures 1:

Event Type: [eg. Patient reported event/ subclinical seizure/ seizure unclear clinical semiology]

Date and Time of Event:

Description of Corresponding Clinical Changes: [eg. Not reported on patient log/ Patient log states...]

Description of Corresponding Electrographic Changes: ***

Duration of Event: ***

EKG Changes Associated with Event: ***

Epileptiform findings including sporadic interictal discharges, rhythmic and periodic patterns.

Non-epileptiform abnormalities such as focal slowing, rhythmic and periodic patterns.

Refer to the American Clinical Neurophysiology Society's Standardized Critical Care EEG Terminology: 2021 Version for specific terminology.

IMPRESSIONS:

This is a __ hour ambulatory EEG.

This is an abnormal/normal ambulatory EEG in the awake / drowsy / asleep / encephalopathic states. [Continue to add other findings as necessary].

Total of __ events were captured during this recording and ___ of them were habitual events by history. The details of individual events are described above.

Electrographic findings are [suggestive /diagnostic] of _____________epilepsy. If clinically indicated, admission to Epilepsy Monitoring Unit for extended video-EEG recording may be necessary to establish clear diagnosis of the paroxysmal events.

Reader Credentials

Attending physician attestation:

By signing, I have independently reviewed this study and agree with the findings and impression as documented.

Signature: ______________________________________

|  | Reference: Hirsch LJ, Fong MWK, Leitinger M, et al. American Clinical Neurophysiology Society's Standardized Critical Care EEG Terminology: 2021 Version. J Clin Neurophysiol. 2021;38(1):1–29. |
| --- | --- |